## Sheet1
Harbor Seal Surveys 2021 |  |  |  | Imagery (circle project(s) for which data were collected in-flight): kamera_2021_test -- glacial_2021 -- pv_2021_test
Date (UTC): | [8 empty] | Aircraft: |  |  | Twin Otter
Flight #: | [8 empty] | Tail #: |  |  | N56RF
Observers: | [8 empty] | Lead pilot:
GPS trackline: | [8 empty] | Co-pilot:
Mechanic on board:
Port camera configuration (circle): |  |  |  | FLIR: A6751-SLSsc |  |  | Prosilica GT6600: 85 mm or 100 mm | [5 empty] | GT4907: 105 mm UV
Center camera configuration (circle): |  |  |  | FLIR: A6751-SLSsc |  |  | Prosilica GT6600: 85 mm or 100 mm | [5 empty] | GT4907: 105 mm UV
Starboard camera configuration (circle): |  |  |  | FLIR: A6751-SLSsc |  |  | Prosilica GT6600: 85 mm or 100 mm | [5 empty] | GT4907: 105 mm UV
Pre-survey checklist: | [8 empty] | Post-survey checklist:
□ | Check cameras, clean lenses, and check system connections | [8 empty] | □ | Set effort to OFF and collection rate to 1.0 fps
□ | Power on NAS, Gooeybox, systems in order (nuvo 0, 1, 2) and IR cameras | [8 empty] | □ | Run post-processing script(s) (1x/project folder)
□ | Turn on KAMERA GUI once NAS light is solid | [8 empty] | □ | Copy post-processing results to external HD
□ | Update flight number, observers | [8 empty] | □ | HALT.desktop to stop system
□ | Initial imagery collected on ground to create project folder (double-check on NAS) | [8 empty] | □ | Power down systems:shutdown.desktop
□ | Stratus GPS on and connected to iPads; Bad Elf on for backup | [8 empty] | □ | Power down NAS (3-second hold), IR, Gooeybox
□ | Dynamic movement for INS calibration | [8 empty] | □ | Pilots OK to turn off sci power
[10 empty] | □ | Stratus and Bad Elf off
Departure airport: | [9 empty] | Landing airport:
Wheels rolling (UTC): | [9 empty] | Landing (UTC):
Take off (UTC): | [9 empty] | Engine off (UTC):
Time (UTC) | Site Name | Flyover # | Survey Method | Effort Type | Camera Angle | Altitude (in ft) | Image Acquisition: # fps or % overlap | Instrument Error | Notes (including data quality for imagery collected during pass)
: to : |  |  | LATTE Mosaic Coastal |  | 12.0* 21.0* 25.5* |  |  | No Yes
: to : |  |  | LATTE Mosaic Coastal |  | 12.0* 21.0* 25.5* |  |  | No Yes
: to : |  |  | LATTE Mosaic Coastal |  | 12.0* 21.0* 25.5* |  |  | No Yes
: to : |  |  | LATTE Mosaic Coastal |  | 12.0* 21.0* 25.5* |  |  | No Yes
: to : |  |  | LATTE Mosaic Coastal |  | 12.0* 21.0* 25.5* |  |  | No Yes
: to : |  |  | LATTE Mosaic Coastal |  | 12.0* 21.0* 25.5* |  |  | No Yes
: to : |  |  | LATTE Mosaic Coastal |  | 12.0* 21.0* 25.5* |  |  | No Yes
: to : |  |  | LATTE Mosaic Coastal |  | 12.0* 21.0* 25.5* |  |  | No Yes
: to : |  |  | LATTE Mosaic Coastal |  | 12.0* 21.0* 25.5* |  |  | No Yes
: to : |  |  | LATTE Mosaic Coastal |  | 12.0* 21.0* 25.5* |  |  | No Yes
: to : |  |  | LATTE Mosaic Coastal |  | 12.0* 21.0* 25.5* |  |  | No Yes
: to : |  |  | LATTE Mosaic Coastal |  | 12.0* 21.0* 25.5* |  |  | No Yes
: to : |  |  | LATTE Mosaic Coastal |  | 12.0* 21.0* 25.5* |  |  | No Yes
: to : |  |  | LATTE Mosaic Coastal |  | 12.0* 21.0* 25.5* |  |  | No Yes
: to : |  |  | LATTE Mosaic Coastal |  | 12.0* 21.0* 25.5* |  |  | No Yes
: to : |  |  | LATTE Mosaic Coastal |  | 12.0* 21.0* 25.5* |  |  | No Yes
: to : |  |  | LATTE Mosaic Coastal |  | 12.0* 21.0* 25.5* |  |  | No Yes
: to : |  |  | LATTE Mosaic Coastal |  | 12.0* 21.0* 25.5* |  |  | No Yes